## Slide 1: HVAC Insights: Rooftop Unit and Terminal Unit Analysis
Bini Chandra, Brian West, Cody Snow
April 17th, 2025

## Slide 2: Introduction - Who We Are
Brief team introduction with expertise highlights
Brian West – BSE Computer Engineering, GDBIW Electrical Engineer
Our mission for this project
Key objectives we set out to accomplish

## Slide 3: Project Overview
Problem statement: What were we trying to solve?
Importance of RTU/TU data analysis to operations
Expected outcomes and deliverables
Stakeholders and beneficiaries of this analysis

## Slide 4: Data Summary - The Basics
Data sources: Where the RTU/TU data came from
Volume: Total count of data points (X records over Y time period)
47 Terminal Units
  206277 Data points collected over 51 Days
3 Terminal Units
  4781 Data points collected over 51 Days for each unit
Variables overview: List of key variables analyzed
Data quality assessment: Completeness, accuracy, timeliness

## Slide 5: Data Preparation
Variables we kept and why they matter
Everything else was kept because it described the system in some capacity that could be used to associate TUs with RTUs.
Variables we dropped and rationale
Terminal Units:
  Jeff’s Email: Air_Flow_Diff, Room_Temperature_Diff, VAV_Temperature_Diff, SaTemp, oppMode
  0 Standard Deviation: EffOcc, Heating_Stg_Cmd, OccCmd, SuplFanCmd, SuplFanState, Cooling_Stg_Cmd, AirflowSpRht, RmCo2
Roof Top Units:
  0 Standard Deviation: ClgStgCmd02, EconEna, EconEnaSp, EffRmSp, ExhAirDmprFbk, FltAlm, HtgAlm, HtgPct, HtgStgCmd01, HtgStgCmd02, OccCmd, OccStatus, SuplAirHtgSp,, SuplAirTempAlm, SuplAirTempSp, SuplFanAlm, UnoccHtgSp, oppMode
Data cleaning steps performed
Forward Filled “Set Point” Variables
Remove variables
Drop rows with missing values
Visual showing before/after data structure

## Slide 6: Analysis Methodology
Simple explanation of PCA (Principal Component Analysis)
How clustering works in non-technical terms
Correlation Between TU/RTU
Inner Join each TU to each RTU on timestamps
  Perform Correlation between each variable of TUs with all variables of RTU
Why we chose these methods for the RTU/TU data
Visual diagram of our analysis workflow

## Slide 7: Key Findings & Results
Main patterns discovered in the data
Cluster characteristics (split by RTU)
Visualization of the clusters with simple explanations
Key insights that were not previously evident

## Slide 8: Interpretation & Business Impact
What these findings mean for operations
Potential cost savings or efficiency improvements
Action items based on cluster analysis
Timeline for implementing recommendations

## Slide 9: Challenges & Future Work
Obstacles encountered during analysis
  Large portion of data was missing values
What we would do with more time
  Attempt supervised analysis methods
Additional data we recommend collecting
Suggested monitoring metrics for ongoing assessment

## Slide 10: Next Steps & Q&A
Summary of key takeaways
Specific recommendations for implementation
Contact information for follow-up questions
Transition to Q&A session (allotted 5 minutes)